## Flex-Hose Products
Flex-Hose Co. - 27 Product Master Dataset
S.No | Category | Subcategory | Product Name | Model | Use / Purpose | Price (USD) | Size / Capacity | Material | Pressure / Operating Range | Connection / Joining Method | Application | Industry | Description | Key Benefits | Warranty | Product Image
1 | UL/FM-Listed Solutions for Fire Sprinkler Systems | Fire Protection | AssureFlex FireSeal Bellows | FH-001 | Maintains a fire seal around piping passing through floors, walls, or ceilings while allowing axial pipe movement. | $180 - $650 | 2 in - 12 in | Stainless Steel Bellows | Rated per UL fire-stop assembly listing - see specification sheet | Sleeve / Through-Penetration | Fire Sprinkler Systems; Through-Penetration Firestopping | Commercial Construction; Fire Protection | Maintains a fire seal around piping that passes through floors, walls, or ceilings while accommodating axial pipe movement caused by thermal expansion and contraction. The flexible metal bellows allows the piping to move without relying on traditional firestop packing that can crack, separate, or drop out as the pipe moves. U.S. Patent No. 11,221,075 B2. | Eliminates reliance on firestop packing that can crack or drop out; UL Listed; U.S. patented design. | Standard manufacturer warranty - see terms | assureflex-fireseal-bellows-FH-001.png
2 | UL/FM-Listed Solutions for Fire Sprinkler Systems | Fire Protection | AssureFlex Connectors for Fire Protection - UL Listed | FH-002 | Absorbs pipe offset and misalignment at connection points in commercial and industrial fire protection systems. | $150 - $520 | 2 in - 12 in | Stainless Steel | Rated per UL Listing - see specification sheet | Flanged / Grooved | Fire Sprinkler Systems | Commercial Construction; Fire Protection | An optimal solution for challenging pipe-offset connection applications in commercial and industrial fire protection systems. Manufactured in the U.S.A. for consistent, reliable, and cost-effective sourcing. | UL Listed; manufactured in the USA; simplifies offset/misalignment connections. | Standard manufacturer warranty - see terms | assureflex-connectors-fire-protection-FH-002.jpg
3 | UL/FM-Listed Solutions for Fire Sprinkler Systems | Fire Protection | AssureFlex Seismic / Expansion Loops for Fire Protection - UL/FM Listed | FH-003 | Compensates for seismic building-joint movement and thermal pipe expansion in fire protection mains. | $280 - $980 | 2 in - 12 in | Stainless Steel | Rated per UL/FM Dual Listing - see specification sheet | Flanged / Grooved | Fire Sprinkler Systems; Seismic Building Joints | Commercial Construction; Fire Protection | Dual-listed by UL and FM, an optimal solution for challenging piping connection applications in commercial and industrial fire protection systems, including seismic building joints and efforts to minimize or compensate for thermal pipe expansion. Manufactured in the U.S.A. | Dual UL/FM Listed; handles both seismic movement and thermal expansion in one assembly. | Standard manufacturer warranty - see terms | assureflex-seismic-expansion-loops-FH-003.jpg
4 | Rubber Expansion Joints | Pump Connectors | Pumpsaver | FH-004 | Prevents pump damage caused by piping stress; absorbs vibration and misalignment at pump connections. | $95 - $340 | 1 in - 12 in | Reinforced Rubber | Standard duty - see specification sheet | Flanged | Pump Installations; HVAC; Water Treatment | Industrial & Manufacturing; HVAC; Water & Wastewater | Used to prevent damage to pumps caused by piping stress. Pumpsaver connectors also absorb vibration, accommodate misalignment, and reduce noise in pump installations. | Protects pump flanges from piping stress; reduces vibration and noise transmission. | Standard manufacturer warranty - see terms | pumpsaver-FH-004.jpg
5 | Flexible Metal Hoses | Custom Metal Hose | Industrial Metal Hose | FH-005 | Absorbs vibration and accommodates offset motion at equipment connections. | $60 - $410 | 1/4 in - 8 in | Braided Stainless Steel | Rated per assembly configuration - see specification sheet | Threaded / Braided Hose | Equipment Connections; Reciprocating Machinery | Industrial & Manufacturing | Applications include absorbing vibration, compensating for misalignment, and accommodating offset motion at equipment connections. | Custom-built braided assemblies; absorbs vibration and misalignment at equipment connections. | Standard manufacturer warranty - see terms | industrial-metal-hose-FH-005.jpg
6 | Flexible Metal Hoses | Custom Metal Hose | UltraFuelFlex | FH-006 | Flexible, hydrocarbon-resistant hose assembly for fuel-handling connections. | $120 - $560 | 3/4 in - 6 in | Braided Stainless Steel | Rated for fuel-service duty - see specification sheet | Braided Hose | Fuel Handling; Tank Farms; Generator Rooms | Oil & Gas; Industrial & Manufacturing | A flexible metal hose assembly engineered for fuel-handling connections where flexibility, sealing integrity, and resistance to hydrocarbon exposure are critical. | Hydrocarbon-resistant sealing; flexible connection for fuel-service piping. | Standard manufacturer warranty - see terms | ultrafuelflex-FH-006.jpg
7 | Flexible Metal Hoses | Accessories | Q-Press | FH-007 | Press-fit metal hose connection system that speeds installation without welding or brazing. | $40 - $210 | 1/2 in - 4 in | Stainless Steel Fitting | Standard duty - see specification sheet | Press-Fit | Flexible Hose Assembly | Industrial & Manufacturing; HVAC | A press-fit metal hose connection system that speeds installation without welding or brazing, reducing labor time on flexible connector assemblies. | No welding or brazing required; reduces field installation labor. | Standard manufacturer warranty - see terms | q-press-FH-007.jpg
8 | Metal Expansion Loops / Seismic Connectors | 3 Leg Style Loop | Tri-Flex Loop | FH-008 | Absorbs up to 24 in of thermal, seismic, and misalignment movement in a compact 3-leg loop. | $310 - $1450 | 2 in - 24 in (up to 24 in of movement) | Carbon / Stainless Steel | Tested to 1.5x max rated working pressure, 4:1 safety factor | Flanged | Thermal Expansion; Seismic Compensation | Commercial Construction; Industrial & Manufacturing; Data Centers | The safest and most reliable means of absorbing up to 24 in of movement resulting from thermal changes, random seismic shifts, and misalignment in a piping system. It also dampens vibration and reduces the transmission of noise. Pressure tested to 1.5x maximum rated working pressure with a 4:1 safety factor, eliminating the need for costly anchoring, thrust blocks, or traditional long pipe loops. | No thrust loads on piping; eliminates costly anchoring/thrust blocks; compact space-saving design. | Standard manufacturer warranty - see terms | tri-flex-loop-FH-008.jpg
9 | Metal Expansion Loops / Seismic Connectors | 3 Leg Style Loop | Tri-Loop | FH-009 | Patented multi-plane movement compensator absorbing up to 24 in of movement in a space-saving design. | $320 - $1480 | 2 in - 24 in (up to 24 in of movement) | Carbon / Stainless Steel | Tested to 1.5x max rated working pressure, 4:1 safety factor | Flanged | Thermal Expansion; Seismic Compensation | Commercial Construction; Industrial & Manufacturing; Data Centers | The patented, space-saving Tri-Loop multi-plane movement compensator absorbs up to 24 in of movement from thermal changes, random seismic shifts, and misalignment, while dampening vibration and reducing noise. Same 4:1 safety factor and no added thrust loads on the piping system as the Tri-Flex Loop. | Patented multi-plane design; no added thrust loads; dampens vibration and noise. | Standard manufacturer warranty - see terms | tri-loop-FH-009.jpg
10 | Metal Expansion Loops / Seismic Connectors | 2 Leg Style | U Style Loop | FH-010 | 2-leg loop absorbing up to 24 in of movement from thermal changes and misalignment. | $260 - $1150 | 2 in - 24 in (up to 24 in of movement) | Carbon / Stainless Steel | Tested to 1.5x max rated working pressure, 4:1 safety factor | Flanged | Thermal Expansion | Commercial Construction; Industrial & Manufacturing | A 2-leg U-style loop that absorbs up to 24 in of movement resulting from thermal changes and misalignment while dampening vibration and reducing noise. Pressure tested to 1.5x maximum rated working pressure with a 4:1 safety factor. | Compact 2-leg design; no added thrust loads; reduces installation expense vs. long pipe loops. | Standard manufacturer warranty - see terms | u-style-loop-FH-010.jpg
11 | Metal Expansion Loops / Seismic Connectors | 2 Leg Style | V Style Loop | FH-011 | 2-leg V-configuration loop absorbing up to 24 in of movement from thermal changes and misalignment. | $260 - $1150 | 2 in - 24 in (up to 24 in of movement) | Carbon / Stainless Steel | Tested to 1.5x max rated working pressure, 4:1 safety factor | Flanged | Thermal Expansion | Commercial Construction; Industrial & Manufacturing | A 2-leg V-style loop that absorbs up to 24 in of movement resulting from thermal changes and misalignment while dampening vibration and reducing noise, the same compact, no-added-thrust-load design as the U Style Loop. | Compact V-configuration; no added thrust loads; space-saving alternative to long pipe loops. | Standard manufacturer warranty - see terms | v-style-loop-FH-011.jpg
12 | Metal Expansion Loops / Seismic Connectors | Accessories | Hanger Assembly Kit | FH-012 | UL Listed seismic rope/cable hanger kit conforming to ASCE structural wire rope guidelines. | $45 - $180 | Sized to loop/pipe assembly | Galvanized Steel Cable | Safety factor of two - see specification sheet | Seismic Cable | Seismic Bracing; Loop Support | Commercial Construction | The UL Listed seismic rope/cable used in our hanger assemblies conforms to ASCE (American Society of Civil Engineers) guidelines for structural applications of wire rope, pre-stretched cable with permanent end fittings maintaining a safety factor of two. | UL Listed; ASCE-conforming; pre-stretched cable maintains rated break strength. | Standard manufacturer warranty - see terms | hanger-assembly-kit-FH-012.jpg
13 | Flexible Metal Hoses | Custom Metal Hose | FlexZorber | FH-013 | Economical way to control piping movement, vibration, and noise transmission. | $55 - $260 | 1/2 in - 6 in | Braided Stainless Steel | Standard duty - see specification sheet | Braided Hose | Vibration Control | Industrial & Manufacturing; HVAC | An easy and economical way to control piping movement, vibration, and noise transmission. | Economical vibration and noise control; easy to install. | Standard manufacturer warranty - see terms | flexzorber-FH-013.jpg
14 | Rubber Expansion Joints | Control Units | StopLink | FH-014 | Factory-assembled control unit that simplifies installation of NNS/NND style rubber expansion joints. | $70 - $300 | Sized to mating flanges | Steel Cable / Hardware | Standard duty - see specification sheet | Bolt-On (Control Cable) | Rubber Expansion Joint Installation | Industrial & Manufacturing; HVAC | Simplifies the installation of NNS and NND style rubber expansion joints, factory designed and assembled with no loose parts or field adjustments. Simply bolt to mating flanges. A fraction of the weight of conventional control-rod assemblies, and the dampening properties of the cable prevent transmission of vibration and noise from rotating equipment or media flow. | No field adjustments needed; lighter than control-rod assemblies; dampens vibration/noise. | Standard manufacturer warranty - see terms | stoplink-FH-014.jpg
15 | Metal Expansion Joints | Externally Pressurized | FlexPress | FH-015 | Externally pressurized multi-ply stainless bellows protected by an external cover for full line pressure. | $340 - $1600 | 2 in - 24 in | Multi-Ply Stainless Steel Bellows | Cover rated for full line pressure - see specification sheet | Flanged / Weld | High-Pressure Piping | Industrial & Manufacturing; Oil & Gas | A totally enclosed, externally pressurized multi-ply stainless steel bellows protected from external damage by an external cover, designed for full line pressure in the unlikely event of a bellows failure. The carbon steel pipe integral liner prevents bellows impingement or fatigue from flow-induced vibration. | External cover rated for full line pressure on bellows failure; integral liner prevents flow-induced fatigue. | Standard manufacturer warranty - see terms | flexpress-FH-015.jpg
16 | Metal Expansion Joints | Internally Pressurized | BellowsXhaust | FH-016 | Metal bellows expansion joint for exhaust and high-temperature piping applications. | $260 - $1100 | 2 in - 20 in | Stainless Steel Bellows | High-temperature duty - see specification sheet | Flanged / Weld | Exhaust Systems; High-Temperature Piping | Industrial & Manufacturing; Data Centers | A metal bellows expansion joint engineered for exhaust and high-temperature piping applications, absorbing thermal growth and vibration in internally pressurized systems. | Engineered for high-temperature exhaust runs; absorbs thermal growth and vibration. | Standard manufacturer warranty - see terms | bellowsxhaust-FH-016.jpg
17 | Metal Expansion Joints | Internally Pressurized | BellowsFlex | FH-017 | Metal bellows expansion joints designed for a wide range of applications and service conditions. | $230 - $980 | 2 in - 20 in | Stainless Steel Bellows | Standard duty - see specification sheet | Flanged / Weld | General Piping Expansion | Industrial & Manufacturing; HVAC | Flex-Hose Co.'s BellowsFlex metal bellows type expansion joints are designed for a wide range of applications and service conditions. | Versatile bellows design suited to a wide range of piping service conditions. | Standard manufacturer warranty - see terms | bellowsflex-FH-017.jpg
18 | Rubber Expansion Joints | Pump Connectors | PumpFlex | FH-018 | Vibration control and noise reduction as well as stress relief and thermal growth at pump connections. | $90 - $360 | 1 in - 12 in | Reinforced Rubber | Standard duty - see specification sheet | Flanged | Pump Installations | Industrial & Manufacturing; HVAC; Water & Wastewater | Ideal for applications requiring vibration control and noise reduction as well as stress relief, misalignment, and thermal growth at pump connections. | Vibration/noise reduction plus stress relief in one connector. | Standard manufacturer warranty - see terms | pumpflex-FH-018.jpg
19 | Metal Expansion Joints | Expansion Compensators | FlexComp | FH-019 | Absorbs thermal growth in HVAC small-diameter piping systems. | $60 - $220 | 1/2 in - 6 in | Stainless Steel Bellows | Standard HVAC duty - see specification sheet | Threaded / Sweat | HVAC Small-Diameter Piping | HVAC; Commercial Construction | Flex-Hose Co.'s FlexComp expansion compensators are designed to absorb thermal growth in HVAC small-diameter piping systems, eliminating the need and expense of pipe loops, or the maintenance associated with packed slip joints. | Eliminates need for pipe loops or packed slip joints in small-diameter HVAC runs. | Standard manufacturer warranty - see terms | flexcomp-FH-019.jpg
20 | Metal Expansion Joints | Pipe Guides | Guideline | FH-020 | Pipe alignment guides maintaining centerline position without causing axial restraint. | $25 - $95 | Sized to pipe diameter | Carbon Steel | Standard duty - see specification sheet | Weld / Bolt-On | Pipe Alignment | Industrial & Manufacturing; HVAC | Flex-Hose Co.'s Guideline pipe alignment guides are designed to maintain the longitudinal position of the pipe centerline without causing axial restraint. | Maintains pipe centerline alignment without restricting axial movement. | Standard manufacturer warranty - see terms | guideline-pipe-alignment-FH-020.jpg
21 | In-Line Air Separator & Other | Accessories | PurgAir | FH-021 | Inline air separator for hydronic systems with a cost-effective internal diverter design. | $180 - $640 | Sized to line size; 150 psi standard rating | Carbon Steel | 150 psi standard - see specification sheet | Flanged / Weld / Groove | Hydronic Systems; Air Separation | HVAC; Commercial Construction; Data Centers | PurgAir inline air separator saves valuable space, its internal diverter design is a cost-effective means for separation of air in a hydronic system. Fitted with air vent tapping and drain connection tapping, rugged enough for pipe-line mounting. Available with 150 lb. plate steel flanges, butt weld ends, and groove ends. Every PurgAir is 100% pressure tested. | 100% pressure tested; compact inline design saves mechanical room space. | Standard manufacturer warranty - see terms | purgair-FH-021.jpg
22 | Metal Expansion Joints | Pipe Guides | UltraJoint | FH-022 | Metal bellows joint with a built-in pipe-guide shroud, eliminating the need for separate pipe guides. | $310 - $1350 | 2 in - 24 in I.D. | Stainless Steel Bellows | Working pressure to 300 psi, tested to 1.5x - see specification sheet | Flanged / Grooved / Weld | Piping Movement with Integrated Guiding | Industrial & Manufacturing; Data Centers | Eliminates the installation of two pipe guides for every metal bellows joint, significantly reducing installation cost. Built-in travel limit assembly protects against over-travel; absorbs axial pipe movement up to 3.25 in; encapsulated pipe-guide shroud protects from external impact and functions as a safety shield. Standard working pressure to 300 psi. U.S. Patent No. 8,033,576 B2. | Eliminates 2 separate pipe guides per joint; encapsulated shroud acts as safety shield; U.S. patented. | Standard manufacturer warranty - see terms | ultrajoint-FH-022.jpg
23 | Rubber Expansion Joints | Control Units | Control Units | FH-023 | 2-rod control units used in place of rubber expansion joints and connectors where anchoring is impractical. | $85 - $310 | Sized to mating flanges | Steel Rod / Hardware | Standard duty - see specification sheet | Bolt-On (Control Rods) | Rubber Expansion Joint / Connector Installation | Industrial & Manufacturing; HVAC | 2-Rod Control Units. Flex-Hose Co.'s control units are used in place of most rubber expansion joints and connectors where necessary anchoring is not practical. | Allows use of rubber joints/connectors where anchoring is not practical. | Standard manufacturer warranty - see terms | control-units-FH-023.jpg
24 | Rubber Expansion Joints | Spool Type | Spool Type | FH-024 | Compensates for movement, absorbs vibration, and reduces noise in piping systems. | $70 - $280 | 1 in - 12 in | Reinforced Rubber | Standard duty - see specification sheet | Flanged | General Piping Movement Compensation | Industrial & Manufacturing; HVAC; Water & Wastewater | Flex-Hose Co.'s spool type expansion joints are used to compensate for movement, absorb vibration, and reduce noise in piping systems. | General-purpose movement compensation, vibration and noise reduction. | Standard manufacturer warranty - see terms | spool-type-expansion-joint-FH-024.jpg
25 | Flexible Metal Hoses | Custom Metal Hose | Chemical Hose | FH-025 | Flexible hose for reciprocating equipment, tank unloading, and fill-station applications. | $65 - $290 | 1 in - 6 in | Chemical-Resistant Braided Hose | Rated per chemical compatibility chart - see specification sheet | Braided Hose | Tank Unloading; Fill Stations; Reciprocating Equipment | Industrial & Manufacturing; Oil & Gas | Flexibility accommodates reciprocating equipment, tank unloading, and fill-station applications. | Chemical-compatible flexible hose for transfer and fill-station duty. | Standard manufacturer warranty - see terms | chemical-hose-FH-025.jpg
26 | Flexible Metal Hoses | Custom Metal Hose | Air Handling Hose / Duct | FH-026 | Accommodates clean air, vapor control, and dust/particulate removal. | $45 - $210 | 2 in - 12 in | Flexible Duct Hose | Standard duty - see specification sheet | Flexible Duct | Clean Air Handling; Dust/Particulate Removal | Industrial & Manufacturing; HVAC | Accommodates clean air, vapor control, and dust/particulate removal where flexibility is key. | Flexible duct connection for clean-air and particulate-removal systems. | Standard manufacturer warranty - see terms | air-handling-hose-duct-FH-026.jpg
27 | Flexible Metal Hoses | Custom Metal Hose | Material Transfer Hose | FH-027 | Simplifies rail car unloading, bulk material transfer, and pneumatic conveying. | $75 - $320 | 1 in - 8 in | Reinforced Braided Hose | Rated per media/application - see specification sheet | Braided Hose | Rail Car Unloading; Bulk Material Transfer; Pneumatic Conveying | Industrial & Manufacturing; Oil & Gas | Hose flexibility simplifies rail car unloading, bulk material transfer, in-plant pneumatic conveying systems, and liquid/slurry transfer. | Flexible transfer connection for rail car unloading and bulk/slurry material handling. | Standard manufacturer warranty - see terms | material-transfer-hose-FH-027.jpg

## Category Hierarchy
Category | Subcategory | Product Count
UL/FM-Listed Solutions for Fire Sprinkler Systems | Fire Protection | 3
Rubber Expansion Joints | Pump Connectors | 2
Flexible Metal Hoses | Custom Metal Hose | 6
Flexible Metal Hoses | Accessories | 1
Metal Expansion Loops / Seismic Connectors | 3 Leg Style Loop | 2
Metal Expansion Loops / Seismic Connectors | 2 Leg Style | 2
Metal Expansion Loops / Seismic Connectors | Accessories | 1
Rubber Expansion Joints | Control Units | 2
Metal Expansion Joints | Externally Pressurized | 1
Metal Expansion Joints | Internally Pressurized | 2
Metal Expansion Joints | Expansion Compensators | 1
Metal Expansion Joints | Pipe Guides | 2
In-Line Air Separator & Other | Accessories | 1
Rubber Expansion Joints | Spool Type | 1

## Dataset Info
Dataset | Flex-Hose Co. - Critical Piping Connections Product Dataset
Records | 27
Hierarchy | Category -> Subcategory -> Product Name
Purpose | LeadRyze AI Product Catalog / chatbot product-recommendation testing
Formats represented | Flexible metal hoses, metal expansion joints and loops, rubber expansion joints, UL/FM-listed fire sprinkler connectors, and in-line air separators
Source | Product names, images, and descriptions sourced directly from flexhose.com (public site content), September 2026. Pricing, model numbers, and key-benefit phrasing are illustrative placeholders for demo/testing purposes only and are NOT Flex-Hose Co. published prices.
Image files | Flex_Hose_Product_Images.zip (in this same Flux-house-Demo folder) contains all 27 images, flat with no subfolders, filenames matching the Product Image column exactly (e.g. tri-flex-loop-FH-008.jpg) — upload this zip as the bulk image file when importing this dataset into the LeadRyze Product Catalog / Business Catalog.